LIQUID WASTE GENERATOR

POLLUTION PREVENTION PLAN

Prepared For:

Company Name

|  | Items that must be included or addressed in the plan |
| --- | --- |

LIQUID WASTE GENERATOR

POLLUTION PREVENTION PLAN

1.  GENERAL INFORMATION:

Name of Company:

Facility Address:

# Mailing Address:

Primary Contact:     Name:

Title:

Phone#: 	 Work:

Emergency:

Email:

Alternate Contact:   Name:

Title:

Phone#: 	 Work:

Emergency:

Email:

Description of Service and Operations:

Engine Overhaul	  Transmission     Oil Change/Tune Up     Car Wash	               Auto Body      Other________________________________________________

2.  SCOPE OF PLAN:

This Pollution Prevention Plan (Plan) is written to ensure compliance with the Liquid Waste Control Program Rules and the Revised Ordinances of Sioux Falls, SD. The Plan applies to all hazardous or non-hazardous wastes discharged or that have a potential to be discharged into the Sioux Falls Publicly Owned Treatment Works (POTW). The Plan calls for a proactive commitment to its objectives by company management, and for involvement from every person employed at the facility.

3.  PLAN OBJECTIVES:

- Eliminate any discharge of unacceptable waste to our facility’s liquid waste interceptor or receptacle that may affect the POTW as listed in Section 5

- Maintain company waste awareness through employee training

4. MEANS TO ACCOMPLISH OBJECTIVES :

Chemical Storage:

All chemicals shall be:

-	Stored in approved containers

- 	Stored away from interceptors and other liquid waste recepticals

- 	Stored with proper secondary containment.

Pollution Prevention Equipment and Supplies:

Floor Dry      Spill Socks      Pads      Other ____________________________

Pollution Prevention Procedures:

Minor Spill:

- Floor dry or other absorbent will be used to soak-up any spilled material.

- The absorbant material will be properly handled and disposed.

Major Spill:

- Absorbent socks will be used to surround and contain the spill.

- Spill should not be allowed to enter the sanitary sewer

- Notify proper authority and/or emergency personal

- The responsible party will assess proper disposal and/or reuse of material

Waste Handling Procedures: If applicaple, identify the storage and disposal of the following materials at your facility.

Used Solvent:		 Onsite   N/A 	Quantity:_____________________________

Storage and Containment__________________________________________________

Disposal Method_________________________________________________________

Used Oil:		 Onsite   N/A 	Quantity:_____________________________

Storage and Containment__________________________________________________

Disposal Method_________________________________________________________

Used Antifreeze:	 Onsite   N/A 	Quantity:_____________________________

Storage and Containment__________________________________________________

Disposal Method_________________________________________________________

Liquid Waste Interceptor Maintenance:

Liquid Waste Covered under Plan:

Trench Drain(s)/Interceptor(s)    Number on site:________

Holding Tank(s)      Number on site:________

Water Operated  Machinery     Number on site:________

Cleaning Schedule:

The above named liquid waste structures will be cleaned thoroughly by a Licensed

Liquid Waste Hauler on an as needed basis but no less than _________________.

5. UNACCEPTABLE WASTE:

| - Used Oil and Lubricants | - Aqueous Parts Washer Sludge |
| --- | --- |
| - Used Antifreeze | - Categorical Wastes |
| - Solvents | - Hazardous Waste |

6. POLICY STATEMENT:

Our company generates liquid waste that is collected and hauled to the City of Sioux Falls

Publicly Owned Treatment Works.  Every attempt will be made to prevent hazardous or incompatible wastes from entering the sanitary sewer system. Our liquid waste structures will be serviced in accordance to our cleaning schedule. Our company will provide adequate equipment and training so that all employees understand proper spill containment and cleanup.

7. CERTIFICATION:

Responsible Party: By signing below you agree to the policy statement listed above.

Name:  ______________________________          Title:  _________________________

__________________________________                             _______________________

(Signature) 						             (Date)

Official City Use Only – Plan Review

General Information   Supplies   Waste Handling    Maintenance   Certification   Sketch

Notes:_____________________________________________________________________________

Review Date:______________________Reviewer:___________________________________________

8. Facility Sketch:

Please attach or draw below a sketch of your facility. Your sketch should include the location of any floor drains, trench drains, sand/oil interceptors, holding tanks, parts washers, bulk new and used fluid storage, and spill containment supplies

Used Oil

Antifreeze

Used

Parts Washer

Spill

Containment

Supplies

Floor

Drain

Used Oil Storage

Direction of

Sewer Flow

Sand/Oil

Interceptor

Street

Trench

Drain

Bulk New

Fluid Storage

Facility Sketch Example

To Sanitary Sewer or Holding Tank

Janitor

Closet

Office

Rest

Room

Customer

Parking

And

Service

Bay

Enterance